## sheet1
activity_code | description | revision_date | picture | flic | user1 | user2 | user3 | user4 | user5
ACC003 | Accommodating infant(s) in crib trolley(s) intermittently.
ACC004 | Accommodating infant(s) in crib trolley(s)/incubator intermittently.
ACC007 | Day and overnight stays for mothers or relatives of babies in the unit.
ACC017 | Computer equipment and operator of the Verification Control and Record (VCR) equipment for MLC and MVI are accommodated
ACC018 | Accommodating computer equipment and operator of the Verification Control and Record (VCR) equipment.
ACC020 | Accommodating X-ray imaging generator and computers.
ACC021 | Accommodating imaging generator and computers.
ACS001 | Access of ambulant people.
ACS002 | Access of disabled people with/without escorts, who may be ambulant or in a wheelchair.
ACS004 | Access for mothers, partners and visitors.
ACS005 | Access of mothers with children.
ACS007 | Access for visitors and staff.
ADM001 | Carrying out administration and clerical duties.
ADM002 | Nursing administrative duties.
ADM005 | Photocopying, sorting and collating.
ADM007 | Deskwork associated with patients notes and/or reports.
ADM009 | Retrieval and filing of case notes.
ADM010 | Retrieval and filing of microfilms.
ADM011 | Safekeeping money, valuables, papers.
ADM012 | Deskwork for 1 person.
ADM013 | Carrying out photocopying activities.
ADM016 | Maintaining staff and patients location.
ADM018 | Issuing official visitors with security pass.
ADM019 | Compiling diets and menus.
ADM022 | Receiving, sorting, despatching, mail, documents and records.
ADM024 | Maintaining appointments and attendance register.
ADM033 | Shredding documents.
ADM034 | Carrying out printing activities.
ADM035 | Sorting and collating x-ray films and documents.
ADM036 | Allocating vehicle resources.
ADM037 | Allocating staff resources.
ADM039 | Deskwork for 5 persons.
ADM041 | Dealing with enquiries.
ADM043 | Filing.
ADM046 | Dealing with enquiries relating to the location of films.
ADM050 | Information may be provided to patients, carers and visitors.
ADM051 | Registration of patient information on the Patient Administration System (PAS).
ADM054 | Managerial tasks associated with department control.
ADM057 | Deskwork.
ADM058 | Deskwork for 4 persons.
ADM059 | Deskwork for 2 persons.
ADM060 | Deskwork for 3 persons.
ADM062 | Reading of case notes.
ADM067 | Administration
ADM068 | Deskwork for 6 persons.
ADM070 | Clerical duties.
ADM071 | Obtaining previous films from current or archival film store.
ADM072 | Despatching x-ray films and/or reports.
ADM073 | Retrieving stored data.
ADM074 | Producing hard copy of selected CT images.
ADM076 | Maintaining case records.
ADM077 | Holding current health records.
ADM078 | Compiling/signing reports.
ADM083 | Producing hard copy of selected PET images.
ADM084 | Receive/hold/despatch patients health records.
ADM085 | Producing hard copy of selected MR images.
ADM086 | Producing hard copy of selected images.
ADM087 | Stored data and/or images may be archived, retrieved or distributed.
ADM088 | Maintaining information held within the IT system database.
ADM089 | Reviewing, archiving and distribution of digital images.
ADM092 | Retrieving and archiving stored data.
ADM093 | Viewing, retrieving and archiving x-ray films/images.
ADM094 | Maintenance of quality assurance/traceability records.
ADM095 | EBME equipment records and reports are maintained and stored.
ADM096 | Completing equipment service records and reports.
ADM098 | Caring and calculating checks.
ADM099 | Analysis of data.
ADM101 | Meeting and greeting relatives and visitors.
ADM102 | Test reports may be prepared.
ADM103 | Undertaking traceability records and other data management.
ADM105 | Retrospective analysis of 24-hour ECG and BP data.
ADM106 | Electronic patient records (EPRs) may be accessed and updated.
ADM108 | Clinical administration.
ADM110 | Patient records may be reviewed and recorded.
ADM112 | Assessment and planning of treatment and/or operation may take place.
ADM115 | Information on computers may be accessed.
ADM117 | Bar coded items may be tracked.
ADM119 | Treatment data may be edited.
ADM120 | Treatment parameters are set up within the system.
AES001 | Administration of general anaesthetic.
AES003 | Maintenance of general anaesthesia.
AES007 | Post anaesthetic recovery of patients.
AES008 | Administration of IV sedation.
AES010 | Administration of general anaesthetic using MRI-compatible equipment.
AES011 | Administration of sedation.
AES012 | Administration of local analgesics.
AES013 | Administration of intravenous analgesia.
AES014 | General or local anaesthetic or sedation may be administered.
AES017 | Anaesthetising patient.
AES019 | Patient may be connected to anaesthetic machine.
AES020 | Maintenance of sedation during examination using appropriate equipment.
AID001 | First aid.
APP005 | Application of plaster.
ASM006 | Assessing x-ray films.
ASM007 | Assessing x-ray images.
ASM011 | Assessment for error of refraction when test type is situated behind the patient and viewed by patient in a mirror sited 3 metres in front.
ASM012 | Assessing the development of the visual and auditory senses.
ASM013 | Assessing child health.
ASM014 | Assessing child whilst performing therapeutic procedures or playing.
ASM017 | Assessing patients mobility.
ASM018 | Assessment and rehabilitative work to improve mental and physical abilities individually or in group under supervision of therapists and staff.
ASM019 | Assessment for visual acuity using a logmar chart at 6 meters
ASM024 | Assessment, observation and therapy by members of the team.
ASM026 | Assessment and treatment of individual patient requiring privacy.
ASM027 | Cognitive/perceptual assessment, study, training and use of microcomputer.
ASM028 | Assessment and training in mobility, self-care and social skills.
ASM029 | Work assessment and training.
ASM030 | Therapist to assess and rehabilitate disabled patients.
ASM031 | Assessment of patients in use of eating utensils and prescription of appropriate aids.
ASM034 | Assessing patient using chairs.
ASM035 | Assessing patient using wheelchair or cushion.
ASM036 | Assessment of Patient using gait analysis equipment which includes mats/plates on the floor with camera and monitoring accessories
ASS002 | Space permits a person to transfer sideways from wheelchair onto WC and back utilising grab rails. 1-2 persons to assist.
ASS009 | Space permits patient lateral transfer from right or left to/from wheelchair onto WC, by 1-2 persons to assist.
AUD001 | Audiological testing neonate.
AUD003 | Audiometric examination and test procedures may take place.
AUD005 | Vestibular examination and test.
BEV001 | Consuming beverages, meals and snacks.
BEV002 | Beverages may be consumed.
BEV004 | Preparing beverages/snacks with patients.
BEV007 | Consuming beverages and meals.
BEV008 | Occasional consumption of beverages.
BEV009 | Preparing occasional beverages and snacks.
BEV010 | People preparing beverages, meals and snacks.
BEV011 | Preparing beverages and snacks.
BEV012 | Serving beverages and snacks.
BEV013 | Selling beverages and snacks.
BEV015 | Obtaining drinking water.
BEV018 | Preparing snacks and beverages and associated activities.
BEV021 | Buying cold snacks/beverages from vending machines.
BEV022 | Buying drinks from vending machines.
BEV025 | Dispensing drinks and hot beverages.
BEV026 | Consuming beverages and snacks.
BTG002 | Baby bathing.
BTG004 | Preparing equipment for bathing baby and cleansing equipment after use.
BTG007 | Bathing a baby.
CAR002 | Admission, with the intimate discussion of personal matters.
CAR003 | Medical and nursing care of patient.
CAR005 | Care of newborn infant(s) using resuscitation trolley as necessary.
CAR010 | Care of infant.
CAR012 | Attention to patient by nurse or relatives.
CAR013 | Attention to patient by nurse.
CAR019 | Staff or parent feeding a baby in an incubator, or sitting in a chair.
CAR021 | Staff or parent to feed baby in incubator.
CAR023 | Staff or parent to feed baby in cot or sitting in chair.
CAR026 | Care of a severely disturbed patient for a short period.
CAR032 | Staff caring for baby.
CAR033 | Mother and/or staff to care for baby in baby cot parked alongside the bed.
CAR035 | Medical nursing care of mother who may be highly dependant.
CAR038 | Care of mother who may need facilities required for abnormal labour, delivery, or post delivery care.
CAR040 | Caring for a patient needing continuous medical and nursing care using piped medical gases, vacuum and life-support system.
CAR060 | Counselling patient after diagnosis.
CAR061 | Counselling.
CAR065 | Counselling staff.
CAR067 | Counselling relatives.
CAR070 | Comforting relatives/carers.
CAS001 | Collecting cash and temporary safe keeping.
CAS003 | Holding and controlling petty cash.
CAS004 | Payment of wages.
CAS006 | Handling cash.
CGG001 | Changing clothing.
CGG002 | Changing into clean uniforms (including blues or greens).
CGG003 | Changing nappies.
CGG004 | Changing into/out of protective clothing.
CGG005 | Changing footwear.
CGG006 | Changing in privacy.
CGG007 | Changing into departmental clothing.
CGG008 | Changing footwear and into protective sterilized clothing and gloves on entry/reverse on exit.
CGG009 | Changing into/out of outdoor clothing.
CGG010 | Changing into protective clothing and footwear from outer clothing.
CGG013 | Changing nappies/continence pads.
CGG014 | Changing before and/or after clinical examination or treatment.
CGG015 | Minimal changing by patient at couch side i.e. patient will only expose the body part that needs to be examined.
CGG016 | Patient will change clothing if required.
CGG017 | Donning protective clothing.
CGG018 | Donning sterile gowns and gloves, from a trolley, assisted by a circulating nurse.
CGG019 | Staff to don protective apron and face mask prior to scrubbing.
CGG020 | Donning protective apron and face mask.
CHG001 | Charging batteries of imaging x-ray machine.
CHG002 | Charging and recharging medical equipment.
CHG003 | Charging of battery operated vehicles with integral chargers.
CHG004 | Charging batteries for electric wheelchairs.
CHG005 | Charging batteries for electric buggies.
CHG006 | Equipment is placed on charge.
CKG001 | Checking stores and equipment.
CKG002 | Checking processed films.
CKG003 | Checking documentation.
CKG004 | Checking delivery of supplies.
CKG005 | Checking supplies.
CKG006 | Checking patients menus.
CKG007 | Checking-in vehicle(s).
CKG008 | Routine checking of vehicle oil, coolant, tyres.
CKG009 | Checking and replenishing vehicle equipment, medical sundries, blankets, linen.
CKG010 | Stock checking and rotation.
CKG011 | Checking fluids visually.
CKG013 | Checking and labelling of finished products.
CKG014 | Checking blood.
CKG015 | Used swabs may be checked, weighed and recorded.
CKG017 | Checking and sorting items for processing.
CKG019 | Checking temperature of supplies.
CKG020 | Calibrating and checking laboratory equipment.
CKG021 | Electronic and Medical Engineering (EME) equipment may be serviced or repaired.
CKG025 | Minor scheduled/unscheduled servicing of equipment may be undeertaken by a visiting EME technician when full facilities of EME workshop are not required.
CKG027 | Carrying out routine checks on equipment.
CKG029 | Checking stock in cupboards and trolleys.
CKG030 | Checking digital images.
CLE002 | Cleansing equipment and containers.
CLE003 | Soiled instruments may be cleansed, disinfected and sterilised
CLE006 | Cleansing floor.
CLE009 | Cleansing bedpan holders.
CLE010 | Cleansing trays, trolleys and equipment.
CLE012 | Cleansing and disinfecting utensils.
CLE015 | Cleansing trolleys and equipment.
CLE018 | Cleansing glassware.
CLE019 | Cleansing of contaminated equipment.
CLE021 | Steam cleaning.
CLE022 | External vehicle wash and cleaning.
CLE023 | Internal vehicle wash and cleaning.
CLE024 | Cleaning of ambulance aid equipment - resuscitation, vacuum splints, scoop stretchers, trolley stretchers.
CLE026 | Cleansing apparatus.
CLE027 | Cleaning by hosing down area.
CLE029 | Cleansing equipment.
CLE030 | Equipment and machines may be cleaned and dryed.
CLE033 | Cleaning of medical devices and accessories in sink.
CLE035 | Cleaning endoscopes.
CLE036 | Disinfecting endoscopes with liquid chemicals.
CLE037 | Automatic washing, disinfecting and sterilizing endoscopes.
CLE038 | Disinfection of contaminated material, equipment, plastic media containers and glassware prior to cleaning or disposal.
CLE040 | Cleaning and drying equipment.
CLE042 | Cleaning bottles and other equipment.
CLE043 | Cleansing trays and equipment used in clinical procedures.
CLE045 | Cleaning footwear in machine.
CLE047 | Washing, disinfecting footwear in a tray.
CLE057 | Stripping and sorting trays, cutlery.
CLE058 | Stripping and sorting pots.
CLI001 | Minor clinical procedures and dressings.
CLI002 | Minor clinical procedures.
CLI003 | Clinical procedures.
CLI004 | Recording patient general health.
CLI005 | Monitoring and recording patient blood pressure.
CLI006 | Performing clinical procedures requiring inserting and changing the lines, cannulae required by CAPD and haemodialysis patient.
CLI014 | Clinical procedures and dressings may be undertaken.
CLI015 | Performing chiropody procedures.
CLI024 | Clinical procedures requiring all sides access to patient, minimum of 5 staff using variety of equipment.
CLI025 | Performing lesion aspiration or needle biopsy.
CLI026 | Inserting applicator/catheter to the patient under local anaesthetic.
CLI027 | Inserting applicator/catheter to the patient under local or general anaesthetic.
CLI029 | Carrying out clinical discussions and non invasive procedures at the bedside.
CLI031 | Minimally invasive clinical procedures may be undertaken from one or both sides of the couch.
CLI032 | Minimally invasive clinical procedures may be undertaken from both sides of the couch.
CLI035 | Carrying out invasive clinical procedures from both sides of the couch.
CLI036 | Carrrying out invasive clinical procedures from all sides of the couch, including the head of the couch.
CLI037 | Carrying out non invasive procedures from one or both sides of a couch or plinth.
CLI038 | Carrying out invasive clinical procedures from both sides of the crib/trolley.
CLN001 | Collecting specimens.
CLN002 | Sending specimens and orders through a pneumatic tube system.
CLN004 | Leaving/collecting prescriptions.
CLN007 | Collecting together goods for delivery in minimal dust and draft conditions.
CLN008 | Collecting used anaesthetic accessories for reprocessing.
CLN011 | Collecting goods.
CLN012 | Collecting dirty uniforms.
CLN013 | Delivery and storage of clean uniforms
CLN014 | Collecting patients clothing and personal effects for safe keeping.
CLN016 | Collecting soiled, contaminated garments.
CLN018 | Collecting used packages for disposal.
CLN020 | Collecting waste materials for disposal.
CLN021 | Collecting waste materials that require specialised handling.
CLN025 | Collecting clean uniforms.
CNS005 | Consultations may take place.
CNS006 | Consultations will take place.
COK005 | Cooking and cooling.
COK006 | Finishing cooked food.
COK007 | Cooking diets.
COK008 | Cooking food.
COK012 | Reheating food.
COK013 | Cooking of food in large quantities.
COM002 | Communicating by a ward or department (Two-way communication system) within and outside hospital (telephone).
COM003 | Visual contact with patient via RF window.
COM005 | Two-way speech communication may occur with patient.
COM006 | Communicating with patient via two-way communication system.
COM008 | Communicating with patient and arranging transport facility.
COM009 | Constant aural/visual contact with patient while undergoing radiotherapy.
COM010 | Receiving/processing requests for ambulance, community car/paging service using radio telephones, voice recording, computer communications systems.
COM018 | Communicating with radio.
COM020 | Communication with colleagues/offices/departments may occur by telephone.
COM021 | Continuity of communication system during failure of outside electricity supply.
COM022 | Communicating within department and outside hospital (telephone).
CON002 | Air control to provide source or protective isolation for patients at risk or liable to infect others.
CON004 | Carry out quality control and/oranalytical control of locally prepared items.
CON007 | Controlling quality of radioisotope samples.
CON009 | Control of fuel dispensing.
CON010 | Controlling quality of locally produced items.
CON011 | Controlling departmental/unit entrance.
CON013 | Controlling public address system.
CON014 | Controlling access to MRI Scanner room.
CON015 | Control of entrance security.
CON016 | Quality control and reject analysis.
CON018 | Controlling access to clinical or work area.
CON020 | Control of waiting area loudspeakers and TV system.
DBT005 | Distributing oil to point of use.
DBT012 | Despatch of individual feed(s) on request.
DEM005 | Demonstrate the preparation of infant feeds.
DEM018 | Demonstration of environmental devices using bell boards, flashing lights, television.
DEM020 | Practitioner demonstrating oral hygiene to a patient.
DEN001 | Orthodontic procedures.
DEN002 | Practitioner carrying out oral hygeine procedures for a patient.
DEN003 | Restorative dentistry procedures.
DEN005 | Practitioner carrying out dental procedures to a patient in a dental chair.
DEN008 | Practitioner carrying out OMFS surgery procedures.
DEN009 | Dental procedures for all dental specialties (eg restorative, orthodontic, oral surgery, maxfax etc) may be carried out by a practitioner.
DEN010 | Dental procedures including use of dental mobile image unit. Patient in reclining dental chair.
DEN011 | Bending and spot welding stainless steel wire.
DEN012 | Preparing wax models.
DEN013 | Trimming and rough finishing of acrylic and metal appliances.
DEN014 | Storing, dispensing and mixing of dental investment.
DEN015 | Storing, dispensing and mixing acrylic materials.
DEN016 | Trimming, sandblasting and finishing of metal appliances.
DFC003 | Disinfecting instruments.
DFC004 | Disinfecting equipment.
DIC001 | Dictating centrally or locally.
DIC003 | Pathologist dictates body description and findings for recording.
DIC005 | Dictating notes/reports/correspondence.
DIN001 | Dining.
DIN005 | Patients/escorts and visitors to consume food and drinks.
DIS001 | Disposal of waste paper.
DIS002 | Disposal of contaminated dressings.
DIS003 | Disposal of waste and contaminated materials.
DIS004 | Disposal of solid waste.
DIS006 | Disposal of waste food.
DIS007 | Disposal of used protective clothing.
DIS008 | Disposal of dirty uniforms.
DIS009 | General waste may be disposed.
DIS011 | Disposal of contaminated material.
DIS012 | Disposal of waste.
DIS013 | Disposal of liquid waste.
DIS014 | Disposal of waste material (possibly radioactive).
DIS015 | Bagging waste paper packaging for disposal.
DIS017 | Disposal of contents and disposable bedpans, urinals or vomit bowls.
DIS018 | Disposal of soiled nappies/continence pads.
DIS020 | Crushing and bagging waste bottles and cans for disposal.
DIS022 | Disposal of soiled nappies.
DIS023 | Transfer for disposal of used instrument trays, linen, refuse, specimens.
DIS024 | Disposal of contents of bedpans, urinals and vomit bowls.
DIS027 | Disposal of radioactive liquid materials.
DIS028 | Compacting waste for disposal.
DIS029 | Disposal of plaster waste and discarded splints.
DIS030 | Disposal of rejected products.
DIS031 | Clinical waste may be disposed
DIS033 | Disposal of single use items.
DIS034 | Extracting waste oil for disposal.
DIS035 | Disposal of non-clinical items.
DIS037 | Disposal of non-clinical waste.
DIS038 | Disposal of pack wrappers and paper towels.
DIS039 | Disposal of used packaging materials.
DIS040 | Bailing of paper and cardboard refuse.
DIS045 | Disposal of used gowns.
DIS046 | Disposal of dye solutions.
DIS048 | Emptying buckets, etc.
DIS053 | Disposal of used cups.
DIS056 | Disposal of bedpans, urine bottles and vomit bowls with contents.
DPY001 | Displaying cards and pictures.
DPY002 | Displaying spectacles frames.
DPY003 | Staff notices, information and/or messages may be displayed.
DPY005 | Displaying periodicals, pamphlets and reports.
DPY006 | Displaying health education material.
DPY007 | Displaying information.
DPY008 | Displaying notices.
DPY010 | Displaying and reading notices.
DPY013 | Displaying theatre suite allocation and staff location information.
DPY016 | Displaying technical drawings of plant and statutory instructions.
DPY022 | Displaying patients work.
DPY024 | Displaying "over-the-counter" medicine and chemist sundries.
DPY027 | Statutory notices. may be displayed
DPY028 | Displaying staff location information.
DPY030 | Operating lists may be displayed.
DPY039 | Displaying literature.
DRY002 | Rinsing trunks/costumes by hand and drying them.
DRY005 | Drying clothes.
DRY007 | Drying glassware.
DRY011 | Drying towels.
DRY013 | Drying pool equipment.
DSC001 | Discussions and interviews may take place.
DSC002 | Informal staff discussions.
DSC003 | Informal discussions and case conferences by staff.
DSC004 | Discussions.
DSC005 | Discussions with staff in quiet surroundings with privacy.
DSC006 | Discussions, seminars and tutorials.
DSC007 | Discussions and meetings with visitors.
DSC008 | Discussion with patient.
DSC009 | Clinical staff colleagues to confer.
DSC011 | Confidential and informal discussions with patients, relatives or staff.
DSC013 | Group discussions.
DSC014 | Confidential discussions.
DSC016 | Confidential and informal discussions and advising relatives.
DSC018 | Carrying out consultation and discussion with junior staff and others.
DSC020 | Advising to the patient by staff.
DSC022 | Interviewing, consultation and discussion with patient.
DSC024 | Confidential telephone advice.
DSC028 | Having informal discussions and meetings.
DSP002 | Dispensing for stock and prescriptions.
DSP003 | Dispensing trays, crockery and cutlery.
DSP005 | Dispensing medication.
DSP008 | Dispensing chilled water.
DSP014 | Self dispensing medication or drugs.
DSP015 | Dispensing disposable aprons.
DSP016 | Dispensing disposable gloves.
DSP023 | Dispensing, top-up and refund entertainment cards.
DSP025 | Dispensing and paying car park ticket.
DSP026 | Self dispensing of medicatons or drugs may take place.
EME001 | Emergency resuscitation may take place.
EME004 | Dispensing emergency drug supplies, available 24 hours without need to enter main dispensary.
EME007 | First aid measures to hand.
EME008 | Fire fighting equipment to hand.
EME009 | Using first aid (drench shower) in emergency.
EME010 | Holding breathing respirator/apparatus for emergency use.
EME011 | Emergency eye irrigation following contamination with corrosive or irritant substances.
EXA001 | Examination for errors of refraction in a light occluded room.
EXA003 | Examination of the supine patient mainly from the right hand side.
EXA004 | Multidisciplinary (clinical and physical) examination of patient.
EXA007 | Examining, assessing and treatment of patient.
EXA008 | Confidential examination.
EXA009 | Examiination of a patient using a microscope may be undertaken.
EXA010 | Clinical examination and assessment may take place in privacy.
EXA011 | Examination of patient.
EXA012 | Examination and treatment by an orthoptist.
EXA013 | Patient to undergo optometry examination, (low vision assessment).
EXA014 | Carrying out examinations and assessment of patient.
EXA015 | Examinations.
EXA020 | Examining and investigating a patients visual field.
EXA022 | Patient to undergo psychophysical tests, such as dark adaptation, contrast sensitivity and colour vision.
EXA023 | Patient to undergo electrophysiology tests to measure the reaction of eye or brain to a light stimulus.
EXA024 | Refraction of the eye.
EXA025 | Examination of the eyes neonate.
EXA026 | Patient to undergo Electroencephalography measurement of brain activity
EXA027 | Transillumination of the skull.
EXA029 | External and internal examination of body by pathologist.
EXA037 | Examine the eye by means of a slit lamp.
EXA038 | Examination and treatment of seated patient using a synoptophore.
EXA047 | Examination and assessment.
EXA049 | Diagnostic and therapeutic procedures carried out.
EXA051 | Reviewing products of conception.
EXA052 | Examining, measuring, weighing of the products of conception.
EXA054 | Physical examination of patient.
EXA055 | Examination of specimens.
EXA057 | Examination of patient on lung ventilation.
EXA058 | Patient may undergo electrocardiogram (ECG) exercise stress test.
EXA059 | Patient to undergo electrocardiogram test (ECG).
EXA061 | Patient to undergo exercise stress/rest test.
EXA062 | Patient to undergo Echocardiography test.
EXA065 | Patient to undergo electrocardiogram test (ECG) and continuous blood pressure monitoring.
EXA071 | Examinations of the patient may be carried out from one or both sides of the couch.
EXA072 | Examination of the patient may be carried out from both sides of the couch.
EXA073 | Examination may be carried out from one or both sides or behind or in front of the chair
EXA076 | Examiniation and minimally invasive clinical procedures may be carried out at the foot of the chiropody chair&apos;
EXE073 | Clinical examination and assessment will take place in privacy.
FIT001 | Fitting spectacles.
FIT003 | Fitting of contact lenses.
FIT009 | Fitting prosthetics.
FIT010 | Fitting bra prostheses.
FIT011 | Final fitting of mould takes place.
FIT013 | Fitting wig or other headdress.
FIT016 | Fitting with Holter leads and recording packs of ambulatory ECGs and 24-hour blood pressure monitoring.
FLL002 | Filling and emptying cleaning equipment and containers.
FLL003 | Filling and emptying containers.
FLL004 | Filling and emptying buckets and bowls.
FLL005 | Filling and emptying buckets.
FLL008 | Filling liquid medicines into containers/bottles.
FLL009 | Filling flammable liquids into containers/bottles.
FLL011 | Filling and emptying washing bowls.
FLL012 | Filling ward, or department boxes, or trolleys.
FLL013 | Filling jars and tubes with ointments/creams by hand machine.
FLL014 | Filling and emptying baby baths.
FLL016 | Filling and holding ward containers.
FLL020 | Filling containers from large tanks of liquids.
GRM001 | Personal grooming by an individual.
GRM003 | Manicure and skin care.
GRM004 | Grooming for a seated person.
GRM006 | Grooming for standing person.
GWN001 | Donning a sterile gown and gloves.
GWN002 | Donning gown and gloves.
GWN003 | Gown and gloves may be removed and disposed of.
HDL001 | Handling prepacked drugs.
HDL002 | Handling gas cylinders.
HDL003 | Handling flammable and hazardous fluids.
HDL005 | Handling/stacking finished products onto pallets (large volume fluids).
HDL013 | Stacking clean food containers onto mobile racks.
HDL015 | Handling product for storage.
HNG001 | Hanging coats.
HNG002 | Hanging outdoor clothing.
HNG003 | Hanging clothing.
HNG004 | Hanging protective clothing.
HNG005 | Hanging towels.
HNG006 | Hanging clothes and towels.
HNG010 | Hanging clothing whilst seated.
HNG021 | Secure hanging of wet outdoor clothing.
HOL002 | Holding/ storing personal belongings.
HOL003 | Holding current patients records/case notes.
HOL004 | Holding/storing trays, crockery and cutlery.
HOL005 | Holding and heating plates/boxes/bases.
HOL006 | Holding protective lead apron(s).
HOL007 | Holding food trolleys (heated and unheated).
HOL008 | Holding/storing of contaminated dressings and sharps.
HOL009 | Holding supply of colour-coded disposal bags.
HOL010 | Holding/storing protective clothing, uniforms and footwear.
HOL011 | Holding used protective clothing or overalls.
HOL014 | Holding books for loan.
HOL015 | Holding/storing sterile equipment.
HOL016 | Holding sterile supplies.
HOL017 | Holding/storing refrigerated specimens prior to despatch.
HOL018 | Bagging and holding materials and equipment prior to transfer to the disposal point.
HOL019 | Holding pharmacy return container for collection.
HOL020 | Holding files, books and documents.
HOL022 | Holding for distribution/delivery.
HOL023 | Holding finished items or products.
HOL024 | Holding hot cooked food.
HOL025 | Holding utensils and equipment.
HOL027 | Reference books, literature and information may be held/stored.
HOL028 | Holding contaminated linen and clothing prior to transfer to the disposal point.
HOL029 | Holding/storing supply of medicines, lotions and drugs.
HOL030 | Holding/storing supply of sterile equipment and supplies.
HOL031 | Holding supply of medicines, lotions and controlled drugs.
HOL032 | Holding linen supply.
HOL033 | Holding controlled and scheduled drugs.
HOL034 | Holding anaesthetic sundries.
HOL035 | Holding blood.
HOL036 | Holding refuse for collection, (disposal or reprocessing).
HOL037 | Holding returnable containers.
HOL041 | Holding working supply of stationery and office accessories.
HOL042 | Holding/storing cleaning equipment.
HOL043 | Holding supplies of chemicals for washer disinfector.
HOL045 | Holding x-ray films.
HOL046 | Holding reagents.
HOL048 | Holding contaminated linen prior to transfer to the disposal point.
HOL049 | Holding records.
HOL050 | Holding/ storing food in refrigerator.
HOL051 | Holding bought-in cooked and prepared foods only.
HOL053 | Holding supply of laundry bags.
HOL054 | Holding in colour-coded bags or containers contaminated linen, or equipment for reprocessing or disposal.
HOL055 | Holding reference samples after batch expiry date.
HOL056 | Holding a working supply of flammables.
HOL057 | Holding hazardous (flammable) liquids.
HOL058 | Holding glassware.
HOL059 | Holding spent generators prior to disposal.
HOL060 | Holding distilled water.
HOL061 | Holding cook/chill trolley.
HOL062 | Holding cooked and prepared foods.
HOL064 | Holding/storing cleaning materials.
HOL068 | Holding machines or equipment for repair.
HOL070 | Holding machines or equipment repaired and ready for use.
HOL078 | Holding used protective footwear.
HOL079 | Holding day-to-day requirements.
HOL080 | Holding returnable boxes.
HOL082 | Holding in quarantine in a segregated area.
HOL085 | Holding emergency stock.
HOL086 | Holding/storing protective sterile clothing and gloves.
HOL089 | Holding trucks and trolleys in area set aside for natural cooling of processed loads.
HOL090 | Holding finished products prior to moving to quarantine store.
HOL091 | Holding working stocks of specimen-taking equipment.
HOL092 | Holding specimen containers.
HOL093 | Holding working supplies of sterile items.
HOL095 | Holding bagged, possibly contaminated material, for disposal.
HOL097 | Holding water resistant aprons and associated clothing to dry.
HOL098 | Holding filled containers.
HOL099 | Holding crockery and cutlery.
HOL100 | Holding used clothing for disposal.
HOL101 | Holding supply of clean room clothing.
HOL102 | Holding cleaning appliances and equipment for use in suite.
HOL104 | Holding bedpans, urinals and vomit bowls.
HOL105 | Holding/storing working supplies of disposable bedpans, urine bottles and vomit bowls.
HOL107 | Holding books.
HOL108 | Holding sterile packs.
HOL110 | Holding linen supply and bathing aids.
HOL111 | Holding/storing working supply of clean and sterile materials for immediate use.
HOL114 | Holding clean crockery and cutlery in racks.
HOL116 | A working supply of stationery is held.
HOL117 | Holding reusable bedpan supports.
HOL118 | Small items of equipment are held stored
HOL119 | Holding cases of equipment for paediatric emergencies.
HOL124 | Holding mop holders and poles.
HOL125 | Holding cases of equipment for obstetric and neonatal emergencies.
HOL126 | Holding I.V. poles and equipment.
HOL127 | Holding/storing working supplies of nappies, towels.
HOL128 | Patient notes/images may be held.
HOL131 | Notes and files may be held.
HOL133 | Materials and equipment may be held/stored.
HOL139 | Holding/storing working supplies of disposable items.
HOL143 | Holding of materials which require disposal or re-processing facilities e.g. CSSD returns, used disposables, etc.
HOL145 | Holding catheters and catheter guide wires used in specialised interventional procedures.
HOL146 | Daily holding/sorting of documents, records, radiology films in clinical or diagnostic areas.
HOL148 | Holding/storing a working supply of gas cylinders.
HOL149 | Holding/storing sterile gown packs for one surgical session with a stock of glove packs and masks.
HOL151 | Items requiring disposal or reprocessing may be held/stored.
HOL153 | Holding supplies of endoscope processing chemicals.
HOL154 | Holding supplies of wrapping materials and other disposables.
HOL159 | Holding towels.
HOL160 | Holding wigs and wig care accessories, turbans and scarves.
HOL161 | Holding bucket.
HOL162 | Holding cassettes before and after processing.
HOL167 | Holding refrigerated storage of culture media plates and bottles.
HOL169 | Holding assessment sheets and information.
HOL170 | Holding a range of wheelchairs.
HOL173 | Holding clean protective laboratory coats.
HOL174 | Holding dirty linen awaiting collection, for dispatch to laundry or disposal.
HOL175 | Holding contaminated used materials.
HOL176 | Holding MR coils.
HOL177 | Holding returned medicine for disposal or recycling.
HOL180 | Holding of radio-isotopes.
HOL181 | Holding of protective clothing for staff entering and leaving the laboratory area.
HOL183 | Holding laboratory manuals, reference books.
HOL187 | Holding of &quot;in use&quot; reagents, solutions in small and large volumes disposables and small items of laboratory equipment.
HOL188 | Holding of glassware and other equipment for use in the preparation of reagents.
HOL189 | Holding of &quot;in use&quot; reagents, flammable solvents, laboratory media and small items of equipment.
HOL190 | Holding plates, bottles and tubes prior to use.
HOL191 | Holding of reagents, raw materials, glassware and other items.
HOL192 | Holding emptied cartons for disposal.
HOL196 | Holding equipment manuals.
HOL197 | Holding blocks and slides prior to dispatch for storage.
HOL201 | Holding CFPU mobile insulated boxes with mobile racks of empty food containers.
HOL204 | Holding/storing stock of infusion fluids.
HOL207 | Holding &apos;SHARPS&apos; in containers for collection/disposal.
HOL209 | Holding assembled unit batch.
HOL211 | Holding raw meat.
HOL213 | Holding days production requirements of dry provisions.
HOL214 | Holding tote boxes.
HOL215 | Holding frozen portions of food.
HOL216 | Holding ingredients.
HOL218 | Holding raw poultry.
HOL220 | Holding refuse in separate bins or special containers.
HOL221 | Holding contaminated returns.
HOL223 | Holding dry goods.
HOL224 | Holding mobile boxes with racks of empty food containers prior to wash-up.
HOL225 | Holding/storing of expressed breast milk in refrigerator/freezer.
HOL226 | Holding plates.
HOL227 | Holding fish in refrigerator.
HOL228 | Holding locally generated clinical waste and associated waste products from the contaminated returns holding area and the wash room.
HOL229 | Segregate and hold (a) items visibly defective following sterilization, (b) contents failed process cycle.
HOL230 | Holding protective clothing.
HOL231 | Holding supply of patients gowns.
HOL232 | Holding insulated boxes.
HOL233 | Holding tools and equipment.
HOL236 | Holding of prosthetics. (e.g. shoes, callipers) awaiting collection.
HOL238 | Holding of body worn devices (e.g. shoes, callipers) awaiting repair.
HOL239 | Holding of equipment awaiting repair/maintenance.
HOL240 | Holding food in chilled condition.
HOL241 | Holding of expressed breast milk in refrigerator.
HOL244 | Holding salad items.
HOL245 | Holding of fresh fruits.
HOL247 | Holding supplies trolley for storage of sterile supplies and consumables.
HOL249 | Instrument trolleys are held/stored.
HOL250 | Sterile pre-set trays are held/stored
HOL252 | Holding sterile packs.
HOL253 | Holding unlicensed drugs.
HOL255 | Holding a product for a required time.
HOL256 | Holding/storing a limited supply of linen and amenities.
HOL257 | Holding/storing a set of replacement cylinders.
HOL258 | Holding daily supply of linen and surgical goods/supplies.
HOL259 | Intrathecal drugs may be held in a secure drugs fridge.
HOL260 | Holding/storing clothing and personal belongings.
HOL261 | Holding deceased clothing and personal effects.
HOL262 | Holding of mothers clothing, personal belongings and babies clothing.
HOL263 | Holding bra, swimsuits and swim prostheses.
HOL265 | Holding radioactive waste for collection/disposal.
HOL266 | Holding in colour-coded bags or containers pharmaceutical waste.
HOL268 | Holding/storing specimens in an incubator prior to despatch.
HOL269 | Holding sterile and disposable items.
HOL270 | Holding daily supply of plaster of Paris bandage.
HOL271 | Holding daily supply of resin plaster.
HOL273 | Holding/storing toys, books and games.
HOL274 | Holding toys and games.
HOL275 | Holding books and games.
HOL276 | Holding theatre documentation.
HOL280 | Holding CR plates before and after processing.
HOL282 | Holding orthoptic equipment.
HOL285 | Holding of non-sterile medical items/equipment.
HOL291 | Holding/storing patient&apos;s clothing and personal belongings.
HOL293 | Supplies trolleys are held/stored.
HOL294 | Holding/storing working supply of linen.
HOL295 | A working supply of consumables is held/stored.
HOL296 | Secure holding/storing of medicines for use by patient (self medication).
HOL297 | Sterile supplies and consumables are held/stored on a trolley.
HOL298 | Sterile supplies and consumables are held.
HOL301 | Secure holding/storing of clothing and personal belongings.
HOL302 | Secure holding of personal belongings.
HOL305 | Secure holding/storage of motorcycle and bicycle helmets.
HOL307 | Dressing/instrument trolleys are held and prepared.
HOL308 | Holding distribution trolley.
HOL309 | Holding exchange trolley.
HOL311 | Holding dirty linen.
HOL312 | Holding SHARPS in a container.
HOL315 | Holding domestic, clinical and recyclable waste for disposal or reprocessing
HOL316 | Protective scrub wear will be held/stored/exchanged.
HSE006 | Housing air compressor/receiver unit.
HSE007 | Housing sterilizer machines.
HSE010 | Housing cylinders with manifold for medical gas used within adjacent Aseptic Room.
HSE011 | Housing and maintaining bottled fluids sterilizer. Refer also to HTM2010.
HSE012 | Housing and maintaining sterilizing oven. Refer also to HTM2010.
HSE015 | Housing RF generating equipment and gradient amplifiers.
HSE020 | Housing cylinders with manifold for ethylene oxide gas used in sterilizer plant room.
HSE027 | Housing electrical switches, distribution boards for department lighting and power. Communications distribution and local transformer boxes.
HSE028 | Nurse call power pack. Fire alarm connections. Telephone distribution box.
HSE031 | Housing auxiliary conservation plant for cryogen system.
HSE032 | Housing of entertainment system and associated equipment.
HSE033 | Housing IT equipment.
INJ001 | Injections may be given to the patient lying on examination couch.
INJ002 | Administration of injections or other medication.
INJ003 | Contrast media may be administered.
INJ005 | Administration of radio isotope injection.
INJ006 | Administration of cytotoxic drugs by injection or intravenous drip.
INS003 | Inspection/labelling.
INS006 | Routine inspection and servicing.
INS009 | Visually inspecting sterile fluids.
INS010 | Visually inspecting and labelling packed containers.
INS011 | Visually inspecting and labelling finished products.
INS017 | Inspecting, packing, including where appropriate heat sealing.
INS018 | Inspecting and testing items requiring a light source/magnification/ medical compressed air.
INS019 | Inspecting, function testing, assembling and packing cleaned and disinfected medical devices and raw materials in preparation for sterilization.
INT001 | Interviewing.
INT006 | Interviewing and consultation.
INT009 | Interviewing in privacy.
INT016 | Interviewing/discussions with visitors or members of staff.
INT017 | Interviewing patients and taking notes.
ISS002 | Issuing supplies.
ISS004 | Issuing gowns to patients.
ISS005 | Issuing emergency supplies of drugs.
ISS006 | Issuing against ward requisitions.
ISS007 | Issuing supplies to Ward Service areas.
ISS009 | Issuing to dispensaries.
ISS010 | Issuing working stock quantities.
ISS013 | Issuing supplies to Dispensary if maintained independent from main store.
ISS014 | Issuing supplies to satellite pharmacy.
ISS015 | Issuing supplies to small scale manufacturing or aseptic suite.
LAB002 | Transferring batched specimens to main laboratory/bench/automated machine with request forms.
LAB005 | Testing samples chemically to determine their identity.
LAB013 | Identity testing of samples.
LAB018 | Incubating inoculated and control media and plates.
LAB022 | Performing electrolyte analysis.
LAB027 | Performing blood analysis.
LAB028 | Performing blood gas analysis.
LAB033 | Blood grouping (centrifuged, incubated, examined) specimens.
LAB050 | Processing specimens/smear preparing and slide fixing.
LAB059 | Centrifuging.
LAB061 | Counting colonies on inoculated media and plates.
LAB063 | Assaying samples chemically to determine their constituent.
LAB064 | Testing physical parameters of samples using instruments (instruments provided will vary with procedures).
LAB065 | Assaying contents of samples by means of instruments.
LAB072 | Storage of specimens in liquid nitrogen.
LAB077 | Processing of specimens which need to be within a microbiological safety cabinet (Class 1).
LAB079 | Embedding processed tissue in resin.
LAB080 | Embedding processed tissue in paraffin wax.
LAB105 | Determining the electrophoretic mobility of protein and Hb in blood.
LAB115 | Cutting sections of tissue embedded in resin.
LAB162 | Drying and sterilizing laboratory glassware after washing.
LAB170 | Performing glucose analysis.
LAB199 | Reception of specimens from specimen reception.
LAB201 | Sorting, batching and labelling/numbering specimens and processing request forms.
LAB202 | Storing transport boxes for blood.
LAB204 | Preparing samples for polymerase chain reaction (PCR) testing.
LAB205 | Preparing samples for transmission electron microscopy (TEM)
LAB210 | Automated processes for routine or emergency tests of chemical pathology and haemotology.
LAB222 | Preparation of distilled water.
LAB223 | Carrying out preparation prior to testing specimens.
LAB224 | Testing of specimens by special procedures on body fluids to monitor hormone imbalance, cancer and other tumour markers.
LAB225 | Testing of specimens by special procedures for steroids and drugs.
LAB226 | Testing of specimens by special procedures for toxicology.
LAB227 | Testing of specimens by special procedures for protein.
LAB228 | Testing of specimens by special procedures for chromatography.
LAB229 | Testing of specimens by special procedures for immuno-assay.
LAB230 | Testing of specimens by special procedures for trace metals.
LAB231 | Testing of specimens by special procedures for glycosylated haemoglobin.
LAB235 | Carrying out general bacteriological investigations, culture identification and sensitivity testing.
LAB236 | Centrifugation of samples/specimens (urine, blood, fluids).
LAB237 | Staining of slide preparations.
LAB238 | Carrying out examination of specimens using a microscope.
LAB239 | Preparing inoculated media for anaerobic investigation inc. evacuation of air from anaerobic jars and incubation under anaerobic conditions.
LAB240 | Incubation of culture media in special conditions (e.g. C02) and temperatures.
LAB244 | Investigation of specimens to contain pathogens from hazard group 3.
LAB245 | Centrifugation and inoculation of samples (urine, blood, fluids) into solid or liquid culture media.
LAB246 | Incubation under suitable temperature/environmental conditions.
LAB247 | Examination of incubated material.
LAB254 | Preparation of media.
LAB255 | Filling sterilized containers or test tubes with prepared media, capping containers and placing in baskets prior to sterilization.
LAB256 | Plate pouring using mechanical equipment or manually under laminar flow cabinet.
LAB258 | Dispensing prepared media into petri dishes, tubes, bottles, using mechanical equipment or manually under laminar flow cabinet.
LAB269 | Reception of specimens from Haemotology specimen reception bench at the appropriate working area.
LAB270 | Automated or manual processing of specimens prior to or during testing of coagulation studies.
LAB272 | Automated or manual processing of specimens prior to or during testing of haemoglobinopathy-electrophoresis.
LAB273 | Automated or manual processing of specimens prior to or during testing of acute phase protein studies and red cell enzymes.
LAB274 | Reception of blood from the Regional Blood Transfusion Service for storage prior to cross matching, storing blood transport boxes.
LAB275 | Examination of blood, for Rhesus antibody status.
LAB276 | Analysing levels of blood bilirubin.
LAB277 | Cross-matching blood including blood with abnormal antibodies.
LAB278 | Holding/storing of "out of hours" cross-matched blood.
LAB279 | Preparation of packed red cells.
LAB280 | Thawing fresh frozen plasma and cryoglobulin.
LAB281 | Holding of &quot;out of hours&quot; specimens including blood cultures.
LAB282 | Refrigeration of &quot;out of hours&quot; specimens.
LAB283 | Holding of "out of hours" blood prior to cross-matching.
LAB284 | Preparation of tissue sections after specimen processing and gross cutting.
LAB285 | Cutting of tissue section from cooled wax blocks on a microtome.
LAB286 | Floating of tissue sections in a warm water bath and then mounting on a microscope slide.
LAB287 | Slide labelling and drying in oven.
LAB288 | Dewaxing sections on slides prior to staining.
LAB289 | Staining slides by mechanised machines or manually for routine or special techniques.
LAB290 | Applying manually or mechanically a glass coverslip over the section with styrene mounted and labelling slides.
LAB291 | Checking stained slides under microscope and labelling slides.
LAB293 | Investigation: Freezing portion of unfixed tissue and cutting sections in a cryostat from urgent specimens and routine immuno-histolog. techniques.
LAB294 | Frozen section investigation: Drying sections
LAB295 | Frozen section investigation: Staining sections.
LAB296 | Placing slides in a slide tray for despatch to pathologist.
LAB300 | Resin work: a) Section cutting, b) section staining, c) section mounting.
LAB303 | Histochemistry: Immunocytochemistry, Immunofluorescence and Crystallography - Slides received from general laboratory.
LAB304 | Histochemistry: Immunocytochemistry, Immunofluorescence and Crystallography - Slides treated with anti-sera and dyes.
LAB307 | Mechanised processing of specimens of tissues.
LAB310 | Short term storage of specimens.
LAB311 | Mounting prepared tissue for demonstration and the preparation of specimen and tissue, in plastic bags (heat sealed) for prolonged storage.
LAB312 | Storing supply of stock materials and control positive tissue.
LAB314 | Preparing solutions and stains.
LAB315 | Storing histopathology slides and blocks.
LAB319 | Incubation of inoculated material, liquid and contaminated media in tubes or plates at +37 DegC.
LAB320 | Storing at 4 DegC specimens and reagents.
LAB323 | Examining slides under a microscope.
LAB334 | Holding specimens prior to delivery to other laboratories.
LAB335 | Dealing with specimens which have arrived in leaking or otherwise damaged containers.
LAB337 | Labelling of sterilized packs.
LAB338 | Labelling items for autoclaving.
LAB339 | Labelling sterilized items.
LAB340 | Labelling packs and assemble a unit batch using container.
LAB349 | Preparing batched specimens, by centrifugation, processing of sputum (within protective cabinet).
LAB380 | Visualising DNA under UV light.
LAB385 | Preparation of slides for microscopy.
LAB386 | Plating specimens for culture.
LAU003 | Laundering patients clothing contaminated accidentally.
LDG001 | Loading trolleys for issue.
LDG002 | Unloading trolleys.
LDG004 | Loading and unloading films/cassettes.
LDG005 | Loading/removing CR plates into/from Reader.
LDG006 | Loading/unloading supplies and or equipment.
LDG008 | Loading/removing cassettes into/from processor.
LDG009 | Unloading vehicles.
LDG010 | Loading bulked refuse on to trolleys.
LDG012 | Loading and unloading automatic washing machines.
LDG014 | Loading into crates or boxes.
LDG017 | Loading and unloading cylinder trolleys.
LDG018 | Loading and withdrawing items from sterilizes and hot air ovens.
LDG019 | Loading/unloading automatic bottle washing machines.
LDG021 | Loading of medical devices into washer-disinfectors.
LDG022 | Loading of medical devices into ultrasonic.
LDG025 | Unloading trolleys received from Contaminated Returns Hold.
LDG027 | Loading/unloading containers on/off racking.
LDG028 | Loading and processing films which require darkroom conditions.
LDG038 | Sterilizer is loaded/unloaded.
LDG040 | Loading pass-through refrigerators with containers or tote bins.
LDG041 | Loading food containers onto trolley/racks prior to chilling and freezing.
LDG044 | Loading trays into trolleys.
LDG045 | Loading and unloading dishwasher.
LDG048 | Loading vehicles.
LDG049 | Loading vehicles return to CFPU.
MAN001 | Manufacturing plastic splints.
MAN002 | Ice making.
MAN003 | Crimping and sealing tubes.
MAT001 | Mother breast or bottle feeding her baby.
MAT002 | Staff bottle feeding baby.
MAT003 | Mother to express milk using breast pump.
MAT007 | Mother bathing her baby.
MAT008 | Staff bathing baby.
MAT009 | Staff carrying out an examination of baby in a cot.
MAT011 | Partner present at birth
MAT012 | Mother to give birth in birthing pool.
MAT013 | Babies will be resuscitated on a resuscitation trolley and then transferred to an incubator or maternity cot.
MAT014 | Expressed breast milk is pasteurised.
MED001 | Medical and nursing procedures requiring all sides access to patient whilst 1-4 staff using mobile equipment.
MED002 | Medical and nursing procedures.
MED003 | Medical and nursing procedures will be performed by staff from the side or behind the patient.
MED005 | Medical and nursing procedures carried out by 1-4 staff using mobile equipment.
MED006 | Medical and nursing procedures requiring all sides access to patient whilst 1-6 staff use specialised equipment.
MON003 | Fetal and maternal monitoring.
MON004 | Monitoring patient/nurse call system.
MON005 | Monitoring vital physiological signs.
MON009 | Monitoring indicator panels.
MON011 | Monitoring pressure differentials.
MON012 | Monitoring and controlling processing equipment.
MON013 | Measuring and monitoring radioactivity levels of preparations.
MON014 | Monitoring pressure differentials within suite and with exterior.
MON015 | Monitoring of all entrances/exits.
MON018 | Monitoring.
MON025 | Monitoring of patient on Simulator couch through leaded glass window.
MON027 | Displays of patient data and position on treatment couch are monitored via CCTV - this must be screened from public view.
MON028 | Monitoring and observation of patient via CCTV.
MON030 | Monitoring/visual indication mortuary entrance bell.
MOT001 | Mother to express milk using breast pump.
MOT002 | Breast or bottle feeding an infant in privacy.
MOT010 | Partner to be present during labour.
MOT013 | Mother may arrive on a stretcher trolley.
MOT014 | Mother may arrive on foot, or in a wheelchair.
MOT015 | Mother may arrive on a stretcher trolley or on a bed.
MOT016 | Mother to undress/dress in privacy and hang clothes near the couch.
MOT017 | Mother to receive therapeutic and clinical attention from health team staff.
MOT018 | Mother to receive visitors.
MOT019 | Transfer of mother to and from bed, stretcher trolley or wheelchair.
MOT020 | Mother to receive continuous basic and technical nursing care after delivery.
MOT021 | Mother to undress/dress in vicinity of bed.
MOT022 | Mother to have privacy as required.
MOT025 | Mother to read, write, listen to radio, view TV and use telephone.
MOT030 | Accommodating a mother for a delivery.
MOT032 | Mother to give birth in water birth pool.
MOT044 | Women to receive visitors.
MOT045 | Woman may arrive on a trolley, or bed.
MOT046 | Transfer of woman to/from bed, stretcher trolley or wheelchair.
MOT047 | Woman to receive therapeutic and clinical attention from health team staff.
MOT048 | Women to undress/dress in vicinity of bed.
MOT049 | Women to read, write, listen to radio, view TV and use telephone.
MOT050 | Woman to undress/dress in vicinity of couch with/without assistance.
MOT051 | Woman may transfer to reclining chair.
MOT052 | Woman may transfer to chair, couch or trolley.
MOT055 | Woman may arrive on foot or in a wheelchair.
MOT059 | Woman to take beverages and snacks.
MOT060 | Woman may be accompanied by partner.
MOT101 | Woman to receive therapeutic and clinical attention from health team staff.
MOT102 | Mother may carry out relaxation exercises.
MOT107 | Women to receive visitors.
MOV001 | Manoeuvring supplies.
MOV003 | Manoeuvring mobile x-ray film trolley.
MOV004 | Manoeuvring mobile equipment and trolleys.
MOV005 | Moving/ Manoeuvring beds.
MOV007 | Manoeuvring hand trucks, trolleys and mobile racks.
MOV008 | Manoeuvring hand trucks.
MOV010 | Manoeuvring fork lift trucks.
MOV012 | Moving/manoeuvring containers.
MOV013 | Manoeuvring mobile containers/racks.
MOV015 | Moving/manoeuvring trolley(s).
MOV016 | Movement of personnel.
MOV017 | Manoeuvring vehicle(s).
MOV018 | Rapid movement, of vehicles in and out.
MOV021 | Movement of persons in and out of department through draught lobby.
MOV023 | Moving/manoeuvring drum trolley (drums up to 350kg).
MOV025 | Moving containers and closures to filling area.
MOV026 | Moving/manoeuvring mobile tanks.
MOV027 | Moving/manoeuvring sterilizer transfer trolley.
MOV028 | Moving/manoeuvring loaded truck transfer trolleys at either end of transfer station.
MOV031 | Movement of all departmental traffic.
MOV039 | Moving/manoeuvring sterilizer loading trolley.
MOV041 | Moving/manoeuvring pallet truck(s).
MOV042 | Moving/manoeuvring electric truck(s).
MOV046 | Manoeuvring large, mobile items.
MOV048 | Circulation of patients, escorts, visitors, staff and others visiting the department.
MOV050 | Movement of mother to recovery room on bed.
MOV055 | Movement of materials store trolleys, loaded with containers to/from the transfer barrier.
MOV056 | Movement of packing room trolleys loaded with containers to/from the transfer barrier.
MOV057 | Containers and carriers are returned to the wash room.
MOV061 | Manoeuvring trolleys and trucks.
MOV071 | Manoeuvring mobile racks.
MOV072 | Manoeuvring mobile bins.
MOV075 | Moving/manoeuvring boxes.
MOV9000 | Circulation of staff
MRT001 | Body on trolley brought from body store.
MRT002 | Body transferred to table.
MRT003 | Pathologist/technician opens body.
MRT004 | Organs removed and transferred to cutting-up bench or board fitted across foot-end of table.
MRT005 | Dissecting, weighing, describing and recording of organs.
MRT006 | Organs retained for investigation placed in container/s.
MRT007 | Remaining organs returned to body.
MRT008 | Retained specimens transferred to room or direct to Histopathology Dept.
MRT009 | Body reconstituted, washed wrapped in shroud and returned to refrigerator.
MRT010 | Identify and label body, enter details in record book or computer.
MRT011 | Holding of bodies in the refrigerated body store.
MRT012 | Placing valuables in sealed container.
MRT013 | Placing of shrouds on body.
MRT015 | Removal of body from store for handing over to undertakers.
MRT016 | Transfer of bodies to the refrigerated body store.
MRT018 | Removal of body from store to Bier room.
MRT020 | Transfer body from body store to a table.
MRT022 | Preparation of the deceased person to view.
MRT025 | Receiving bodies on trolley.
MRT027 | Relatives need to enter Bier room.
MRT030 | Storage of organs or tissues in formalin.
MRT032 | Holding tissues for transfer to Pathology Dept. (mainly Histopathology)
MTG001 | Holding meeting formal and/or informal.
MTG002 | Educational meetings, seminars.
MTG005 | Holding meetings.
MTG007 | Holding conference.
MTG010 | Telemedicine conferencing may take place between departments or regions.
MTN001 | Maintaining processing equipment.
MTN002 | Maintaining digital processing equipment.
MTN004 | Maintaining radiodiagnostic equipment including TV and VDTs.
MTN007 | Rustproofing and undersealing.
MTN014 | Maintaining printing equipment.
MTN015 | Maintenance and care of radio transmitters and receivers.
MTN016 | Maintenance and care of telephone exchange equipment.
MTN017 | Maintenance and care of computer central processing equipment and peripherals e.g. VDTs modems and high speed printers.
MTN018 | Maintenance of sterilizers.
MTN020 | Maintenance and service of sterilizers.
MTN025 | Maintenance and care of wheelchair.
MTN028 | Mechanical fitting, metal work including use of machinery.
MTN033 | Maintenance and servicing of equipment.
MTN035 | Maintaining of water treatment plant.
MTN040 | Diagnostic and remote diagnostic verification of software/hardware problems will be undertaken and problem resolution will be confirmed.
OBC001 | Procedures for delivery will be carried out from both sides, at head and foot of bed, or in the bed area.
OBC004 | Performance of caesarean section, obstetric diagnostic or delivery procedures.
OBC005 | Procedures for conducting an abnormal delivery requiring all sides access to patient.
OBC006 | Performing emergency caesarean section.